# REQUEST FOR TECHNICAL CHANGE

# AGENCY:	N.C. BUILDING CODE COUNCIL

# RULE CITATION:	NC ADMINISTRATIVE CODE: Section 106 Permits – (110308 Item B-1)

# DEADLINE FOR RECEIPT:	TUESDAY, OCTOBER 18, 2011

NOTE WELL: This request when viewed on computer may extend several pages. Please be sure you have reached the end of the document.

The Rules Review Commission staff has completed its opinion review of this rule or set of rules your agency filed with the RRC for review by the RRC at its next meeting.  The Commission has not yet met and therefore there has not been a determination as to whether the rule will be approved.  You may call this office to inquire concerning the staff recommendation.

In reviewing these rules, the staff determined that one or more technical changes need to be made. Approval of any rule is contingent on making this technical change as set out in G.S. 150B-21.10.

In 106.2.3.1 #4 please spell out what the initials AHJ stand for. You could put the initials in parentheses after this.

Please verify the use of two bullet points and not three in #4.

Please retype or otherwise correct the rule(s) or submission form(s) as necessary and deliver it to our office at 1711 New Hope Church Rd, Raleigh, North Carolina 27609.

# If you have any questions or problems concerning this request, please contact me.

Joseph J. DeLuca, Jr.

Commission Counsel

# REQUEST FOR TECHNICAL CHANGE

# AGENCY:	N.C. BUILDING CODE COUNCIL

# RULE CITATION:	2012 NC BUILDING CODE: Section 3409.8.3.1 – Inclined Stairway Chair Lifts (110308 Item B-2)

# DEADLINE FOR RECEIPT:	TUESDAY, OCTOBER 18, 2011

The Rules Review Commission staff has completed its opinion review of this rule or set of rules your agency filed with the RRC for review by the RRC at its next meeting.  The Commission has not yet met and therefore there has not been a determination as to whether the rule will be approved.  You may call this office to inquire concerning the staff recommendation.

In reviewing these rules, the staff determined that one or more technical changes need to be made. Approval of any rule is contingent on making this technical change as set out in G.S. 150B-21.10.

In the second line of 3409.8.3.1 please change “permitted as an component” to “permitted as a component”

In the last sentence it seems to me that “approved factory trained installers” means that anyone can “approve” “factory trained installers.” If so, the rule is fine as it is. Otherwise it seems to me you should be more specific about who does the approval and training such as: “factory approved installers” (presumably the training wouldn’t matter if the factory did the approving – but it’s your call) or “factory trained and approved installers” or “factory trained installers” (because if the factory did the training they would be approving them) or whatever it takes to make it clear who has to do what.

Please retype or otherwise correct the rule(s) or submission form(s) as necessary and deliver it to our office at 1711 New Hope Church Rd, Raleigh, North Carolina 27609.

# If you have any questions or problems concerning this request, please contact me.

Joseph J. DeLuca, Jr.

Commission Counsel

# REQUEST FOR TECHNICAL CHANGE

# AGENCY:	N.C. BUILDING CODE COUNCIL

# RULE CITATION:	2012 NC FUEL GAS CODE: Section 311 – Carbon Monoxide Alarms (110308 Item B-3a)

# DEADLINE FOR RECEIPT:	TUESDAY, OCTOBER 18, 2011

The Rules Review Commission staff has completed its opinion review of this rule or set of rules your agency filed with the RRC for review by the RRC at its next meeting.  The Commission has not yet met and therefore there has not been a determination as to whether the rule will be approved.  You may call this office to inquire concerning the staff recommendation.

In reviewing these rules, the staff determined that one or more technical changes need to be made. Approval of any rule is contingent on making this technical change as set out in G.S. 150B-21.10.

In 311.2 please make “Carbon Monoxide Alarms” lowercase. This will parallel the style in 311.1.

The same request applies to the two occurrences in 311.3.

In the Exception to 311.2 make “Carbon Monoxide” lowercase.

In 311.3 it seems to me that UL 2075 should be included along with UL 2034 since it is included in the statute. If there is a reason (such as that standard does not apply to this type of construction) please advise me.

Please retype or otherwise correct the rule(s) or submission form(s) as necessary and deliver it to our office at 1711 New Hope Church Rd, Raleigh, North Carolina 27609.

# If you have any questions or problems concerning this request, please contact me.

Joseph J. DeLuca, Jr.

Commission Counsel

# REQUEST FOR TECHNICAL CHANGE

# AGENCY:	N.C. BUILDING CODE COUNCIL

# RULE CITATION:	2012 NC NC MECHANICAL CODE: Section 313 – Carbon Monoxide Alarms (110308 Item B-3b)

# DEADLINE FOR RECEIPT:	TUESDAY, OCTOBER 18, 2011

The Rules Review Commission staff has completed its opinion review of this rule or set of rules your agency filed with the RRC for review by the RRC at its next meeting.  The Commission has not yet met and therefore there has not been a determination as to whether the rule will be approved.  You may call this office to inquire concerning the staff recommendation.

In reviewing these rules, the staff determined that one or more technical changes need to be made. Approval of any rule is contingent on making this technical change as set out in G.S. 150B-21.10.

In 313.2 please make “Carbon Monoxide Alarms” lowercase.

The same request applies to the two occurrences in 313.3.

In the Exception to 313.2 make “Carbon Monoxide” lowercase.

In 313.3 it seems to me that UL 2075 should be included along with UL 2034 since it is included in the statute. If there is a reason (such as that standard does not apply to this type of construction) please advise me.

Please retype or otherwise correct the rule(s) or submission form(s) as necessary and deliver it to our office at 1711 New Hope Church Rd, Raleigh, North Carolina 27609.

# If you have any questions or problems concerning this request, please contact me.

Joseph J. DeLuca, Jr.

Commission Counsel

# REQUEST FOR TECHNICAL CHANGE

# AGENCY:	N.C. BUILDING CODE COUNCIL

# RULE CITATION:	2012 NC PLUMBING CODE: Section 315 – Carbon Monoxide Alarms (110308 Item B-3c)

# DEADLINE FOR RECEIPT:	TUESDAY, OCTOBER 18, 2011

The Rules Review Commission staff has completed its opinion review of this rule or set of rules your agency filed with the RRC for review by the RRC at its next meeting.  The Commission has not yet met and therefore there has not been a determination as to whether the rule will be approved.  You may call this office to inquire concerning the staff recommendation.

In reviewing these rules, the staff determined that one or more technical changes need to be made. Approval of any rule is contingent on making this technical change as set out in G.S. 150B-21.10.

In 315.2 please make “Carbon Monoxide Alarms” lowercase.

The same request applies to the two occurrences in 315.3.

In the Exception to 315.2 make “Carbon Monoxide” lowercase.

In 315.3 it seems to me that UL 2075 should be included along with UL 2034 since it is included in the statute. If there is a reason (such as that standard does not apply to this type of construction) please advise me.

Please retype or otherwise correct the rule(s) or submission form(s) as necessary and deliver it to our office at 1711 New Hope Church Rd, Raleigh, North Carolina 27609.

# If you have any questions or problems concerning this request, please contact me.

Joseph J. DeLuca, Jr.

Commission Counsel

# REQUEST FOR TECHNICAL CHANGE

# AGENCY:	N.C. BUILDING CODE COUNCIL

# RULE CITATION:	N.C. PLUMBING CODE: Section 403.2 – Separate Facilities (110308 Item B-4)

# DEADLINE FOR RECEIPT:	TUESDAY, OCTOBER 18, 2011

The Rules Review Commission staff has completed its opinion review of this rule or set of rules your agency filed with the RRC for review by the RRC at its next meeting.  The Commission has not yet met and therefore there has not been a determination as to whether the rule will be approved.  You may call this office to inquire concerning the staff recommendation.

In reviewing these rules, the staff determined that one or more technical changes need to be made. Approval of any rule is contingent on making this technical change as set out in G.S. 150B-21.10.

I do not have a copy of the 2012 Code and am working off the 2009 Code. In that code there is an “Exception 4. Except as provided in Section 405.3.2.” Please verify that you do not intend any such exception in this code.

Please retype or otherwise correct the rule(s) or submission form(s) as necessary and deliver it to our office at 1711 New Hope Church Rd, Raleigh, North Carolina 27609.

# If you have any questions or problems concerning this request, please contact me.

Joseph J. DeLuca, Jr.

Commission Counsel

# REQUEST FOR TECHNICAL CHANGE

# AGENCY:	N.C. BUILDING CODE COUNCIL

# RULE CITATION:	2009 NC RESIDENTIAL CODE: Section 313 – Carbon Monoxide Alarms (110308 Item B-6a)

# DEADLINE FOR RECEIPT:	TUESDAY, OCTOBER 18, 2011

The Rules Review Commission staff has completed its opinion review of this rule or set of rules your agency filed with the RRC for review by the RRC at its next meeting.  The Commission has not yet met and therefore there has not been a determination as to whether the rule will be approved.  You may call this office to inquire concerning the staff recommendation.

In reviewing these rules, the staff determined that one or more technical changes need to be made. Approval of any rule is contingent on making this technical change as set out in G.S. 150B-21.10.

In 313.1.3 it seems to me that UL 2075 should be included along with UL 2034 since it is included in the statute. If there is a reason (such as that standard does not apply to this type of construction) please advise me.

Please retype or otherwise correct the rule(s) or submission form(s) as necessary and deliver it to our office at 1711 New Hope Church Rd, Raleigh, North Carolina 27609.

# If you have any questions or problems concerning this request, please contact me.

Joseph J. DeLuca, Jr.

Commission Counsel

# REQUEST FOR TECHNICAL CHANGE

# AGENCY:	N.C. BUILDING CODE COUNCIL

# RULE CITATION:	2012 NC RESIDENTIAL CODE: Section 315 – Carbon Monoxide Alarms (110308 Item B-6b)

# DEADLINE FOR RECEIPT:	TUESDAY, OCTOBER 18, 2011

The Rules Review Commission staff has completed its opinion review of this rule or set of rules your agency filed with the RRC for review by the RRC at its next meeting.  The Commission has not yet met and therefore there has not been a determination as to whether the rule will be approved.  You may call this office to inquire concerning the staff recommendation.

In reviewing these rules, the staff determined that one or more technical changes need to be made. Approval of any rule is contingent on making this technical change as set out in G.S. 150B-21.10.

In 315.3 it seems to me that UL 2075 should be included along with UL 2034 since it is included in the statute. If there is a reason (such as that standard does not apply to this type of construction) please advise me.

Please retype or otherwise correct the rule(s) or submission form(s) as necessary and deliver it to our office at 1711 New Hope Church Rd, Raleigh, North Carolina 27609.

# If you have any questions or problems concerning this request, please contact me.

Joseph J. DeLuca, Jr.

Commission Counsel